## Slide 1: Introduction to…
A Stateful Device Emulation Framework
Michael Hart
Michael Wedel
Owen Arnold

## Slide 2: Background
Need to develop user-facing control software

## Slide 3: ESS Artist Rendition

## Slide 4: ESS Reality

## Slide 5: Background
Need to develop user-facing control software
BUT….
  Facility does not exist yet
  Hardware not available yet
  EPICS IOCs not available yet
  Cannot test our work

## Slide 6: Solution
Replace Devices + IOCs with software emulator

## Slide 7: Replace IOC
Replace devices + IOCs with Lewis

## Slide 8: Replace Device
Replace devices with Lewis

## Slide 9: Chopper Disc

## Slide 10: Chopper State Diagram

## Slide 11: Lewis Overview
Python framework to unify common tasks
State machine to model device states
Flexible interfaces: IOC or Device-level
Cycle-driven: Deterministic and controllable time-flow
JSON-RPC to bypass normal protocol
Available as Docker image

## Slide 12: Lewis Cycle-Driven Design

## Slide 13: Use Cases and Applications
Development and testing of user-facing software without access to hardware
Allows testing edge conditions without stressing or jeopardizing hardware
Automated unit and system tests
Can be used to perform dry runs to test or time user scripts
Can be used in many other contexts!

## Slide 14: Current State
Version 1.0.3 released March 24th 2017
Helped progress Chopper design at ESS
In use at ESS Test Beamline at HZB in Berlin
In use by IBEX team here at ISIS
  Device-level emulators
  Test IOC and GUI behaviour

## Slide 15: Lewis Technologies

## Slide 16: Where to find Lewis
GitHub
  https://github.com/DMSC-Instrument-Data/lewis
DockerHub
  https://hub.docker.com/r/dmscid/lewis/
PyPI
  https://pypi.python.org/pypi/lewis
Install!
  $ pip install lewis
  $ docker pull dmscid/lewis

## Slide 17: Questions
  ?